## Slide 1
GRID GUARD
Power Outage Prediction & Grid Equipment Failure Advisor
TEAM MAVERICK
Heet Dadhaniya, Axit Dudhat, Aryan Jivani, Parth Vora
COMPETITION TRACK
Bobathon · Track: AI · Use Case: U1
01
Notes: Welcome. We are Team Maverick, and today we're presenting Grid Guard—a solution that transforms how utilities manage their most critical assets. We're competing in the AI track for Use Case U1.

## Slide 2
THE GRID IS SIGNALING FAILURE BEFORE IT HAPPENS
MISSED SIGNALS
Utilities run on calendar-based maintenance, ignoring condition signals already streaming from sensors into SCADA historians.
INCREASING RISK
Aging infrastructure, extreme weather events, and growing renewable loads are making the status quo dangerous.
PREDICTABLE REALITY
Signals like temperature, vibration, and partial discharge are available but unread, leading to unexpected failures.
Conceptual: Grid Reliability Risk vs. Maintenance Strategy Effectiveness
02
Notes: The problem isn't a lack of data; it's a lack of synthesis. Utilities are drowning in sensor telemetry that sits unread in SCADA historians while they stick to rigid, calendar-based maintenance schedules that ignore the actual condition of the equipment.

## Slide 3
A PREDICTABLE FAILURE STILL BECOMES AN OUTAGE
BLIND MAINTENANCE
Utilities treat a degrading transformer and a healthy one identically, relying on fixed schedules rather than actual condition.
100%
IDENTICAL TREATMENT
DATA SILOS
Telemetry streams into SCADA historians where it remains unread. The signals for failure are present but never synthesized.
0%
SIGNAL SYNTHESIS
FINANCIAL EXPOSURE
Unexpected critical asset failure costs utilities millions in lost revenue, emergency labor, and regulatory fines.
$1M+
COST PER HOUR
03
Notes: When a transformer fails unexpectedly, the clock starts at a million dollars per hour in lost revenue and emergency costs. These failures are often predictable days in advance, yet the status quo remains reactive and dangerous.

## Slide 4
FROM RAW TELEMETRY TO FIELD-READY ACTION
STAGE 01
FUSE
Sensor telemetry, weather forecasts, and historical incident records joined in a single pipeline.
Neon Postgres
STAGE 02
PREDICT
Rolling feature window feeds an XGBoost classifier to output failure probability per asset.
XGBoost + SHAP
STAGE 03
RANK
Assets scored by grid-impact severity: probability × customers served × criticality tier.
Severity Engine
STAGE 04
ACT
IBM Bob synthesizes ranked data into a prioritized, plain-English maintenance and dispatch plan.
IBM Bob / watsonx.ai
04
Notes: Grid Guard solves this through a four-stage workflow: we fuse telemetry and weather data in Neon Postgres, predict failure probability with XGBoost, rank by grid-impact severity, and finally, use IBM Bob to generate an actionable crew plan.

## Slide 5
ONE PIPELINE, THREE OPERATOR VIEWS
DATA INGESTION
Neon Postgres
Fusing sensor telemetry, weather, and incident records.
ML ENGINE
XGBoost Scoring
Feature engineering and failure probability classification.
OPERATIONAL LOGIC
Severity Ranker
The bridge between ML output and operational reality.
INTERFACE
Streamlit Dashboard
Risk map, ranked table, and maintenance plan views.
API LAYER
FastAPI
Single API call updates all operator views in real-time.
AI SYNTHESIS
IBM Bob / watsonx
Generating plain-English maintenance and crew plans.
05
Notes: Our architecture is built for operational reality. From data generation to a Streamlit dashboard, every step is designed to bridge the gap between complex ML outputs and the clear, ranked views that operators need to make decisions.

## Slide 6
BOB EARNS ITS PLACE AT THE DECISION POINT
INPUT: STRUCTURED RISK DATA
{ "asset_id": "TX-4092", "failure_prob": 0.84, "severity_score": 9.2, "top_shap_features": [ "oil_temp_rise", "partial_discharge_count" ], "weather_context": "Severe Storm Warning", "impact": "1,200 customers" }
OUTPUT: IBM BOB FIELD BRIEFING
PRIORITY ALPHA: Immediate dispatch to Transformer TX-4092.
Model flags 84% failure probability driven by critical oil temperature rise and partial discharge spikes. Combined with the 48-hour severe storm warning, this asset poses a high risk to 1,200 customers.
ACTION: Deploy crew for immediate thermal inspection and oil sampling before storm onset.
06
Notes: IBM Bob and watsonx.ai are the final, critical link. While deterministic code handles the heavy lifting of scoring, Bob synthesizes that data into plain-English field briefings, turning a spreadsheet of risk scores into a clear decision for the crew.

## Slide 7
PROBABILITY IS NOT PRIORITY
SEVERITY RANKING ENGINE
P(Failure) × Customers Served × Tier Criticality
A 40% failure probability on a backbone transmission asset outranks a 70% probability on a low-impact feeder.
IMPACT / CRITICALITY
MEDIUM PRIORITY
High Prob / Low Impact
CRITICAL ACTION
High Prob / High Impact
MONITOR
Low Prob / Low Impact
PREVENTATIVE
Low Prob / High Impact
LOW PROBABILITY
HIGH PROBABILITY
07
Notes: Crucially, we understand that probability is not priority. Our severity engine ensures that a high-impact backbone failure always outranks a lower-impact feeder risk, even if the feeder has a higher probability of failure.

## Slide 8
DESIGNED TO MOVE FROM PROTOTYPE TO UTILITY
NEAR-TERM
Integration
Swap synthetic data for real utility SCADA feeds.
Connect live NOAA/NWS severe-weather alerts.
Zero structural changes required to model architecture.
MEDIUM-TERM
Optimization
Retrain on utility-specific historical incident records.
Tune models to local fleet and operating environments.
Refine severity weights based on operational feedback.
AT SCALE
Grid Impact
Reduce emergency maintenance costs by flagging outages weeks in advance.
Improve SAIDI/SAIFI reliability metrics.
Enable higher renewable utilization within safe limits.
08
Notes: Grid Guard is ready for utility deployment. We can swap in real SCADA feeds today, retrain on specific historical records tomorrow, and ultimately scale to reduce costs and improve grid reliability across entire regions.

## Slide 9
FUSE. RANK. ACT.
Grid Guard turns signals utilities already have into decisions crews can use.
TEAM MAVERICK
Heet Dadhaniya, Axit Dudhat, Aryan Jivani, Parth Vora
CONTACT / DEMO
Bobathon 2026 · Track: AI · Use Case: U1
09
Notes: In closing, Grid Guard is about turning signals into action. Fuse the data, rank the risk, and act before the outage happens. We are Team Maverick. Thank you.